OPTIONAL ACCESSORIES

| Model | Item Description | Qty | Unit | Unit Price | PROMO AMOUNT |
| --- | --- | --- | --- | --- | --- |
| TMD95E | Model: TDM95E Communication: USB 1.1 USB: Type-C Temperature Detection: Distance 3 - 5cm Temperature: Unit °C or °F Temperature: Measurement Range 32.0°C - 42.9°C / 89.6°F - 109.22°F Temperature Measurement Deviation: ±0.3°C / ±0.54°F Digital Display: Tube 4 Operating Voltage: 5V Operating Temperature: 15°C - 35°C / 59°F - 95°F Operating Humidity: 10% - 85% Dimensions: 88 * 88 * 54.63 (mm) Weight of the Device: 0.17kg Weight of the Device with Packaging: 0.29kg | 1 | pc | 9,500.00 | 9,500.00 |
|  | Proximity Card 125khz(Thin) | 1 | pc | P80.00 | 80.00 |
|  | 5v Mini Ups | 1 | pc | 2,500.00 | 2,500.00 |
|  | 12v Mini Ups | 1 | pc | 3,500.00 | 3,500.00 |